# Chemical Hygiene Plan Appendix L: Piping Container Coloring and Coding



**Pipe Labeling Colors**

Red: Fire Suppression Material

Yellow: Materials that are Inherently Hazardous

Green: Liquids of Inherently Low Hazard

Blue: Gases of Inherently Low Hazard